## Slide 1: EPIC Geolocation
Karin Blank
NASA/GSFC 586

## Slide 2: Algorithm Progress
Focus | Algorithm Version | Product Release Version | Features
Simulator | Revision 0 |  | Pre-launch simulator
Relative Geolocation | Revision 1 | Version 0 | First geolocation; website pictures
 | Revision 2 |  | Mitigation of issues with optical artifacts
 | Revision 3 |  | Improved cross-band registration
 | Revision 4 | Version 1 | Subpixel registration L1b (Kai Yang’s algorithm)
Absolute Geolocation | Revision 5 | Version 2 | Initial fixes for absolution geolocation
 | Revision 6 | Version 3 | Atmospheric refraction correction, improved optical model, attitude correction, improved lat/lon
 | Revision 7 | Version 4 | Updated parallax correction

## Slide 3
EPIC…

## Slide 5
Wavelengths of EPIC
688 nm
551 nm
764 nm
Infrared
Visible
Ultraviolet
780 nm
680 nm
443 nm
388 nm
340 nm
325 nm
317 nm

## Slide 7
- Geoid
- Terrain
3D Model (Earth)
- Earth
- Spacecraft
Location (Ephemeris)
- Spacecraft
-Attitude (X,Y offset)
-Spacecraft->Earth orientation (Z rotation)
-Earth
  -Tilt (Y rotation)
    -Precession
    -Nutation
  -Sidereal Time (X rotation)
Pose (Astronomical)
-Telescope Optical Model
-Sensor Model
-Atmospheric Refraction
Drawing (2D->3D)
Spacecraft Rotation
Time Rotation

## Slide 8: DSCOVR Geolocation Software
Latitude
Longitude
Sun Azimuth Angle
Sun Zenith Angle
View Azimuth Angle
View Zenith Angle
Georectified and Color Imagery

## Slide 9
Goddard, we have a problem…

## Slide 10: Instruments
EPIC
NISTAR
PlasMag
Name: Earth Polychromatic Imaging Camera
Instrument type: Imager
Subject: Earth
Science: Measures ozone, aerosols, cloud height, leaf area index
Name: NIST Advanced Radiometer
Instrument type: Cavity radiometer
Subject: Earth
Science: Measures Earth’s radiation budget
Name: Plasma-Magnetometer
Instruments: Faraday Cup, Electron Spectrometer, Electrostatic Analyzer
Subject: Sun
Science: Measures Solar wind

## Slide 11
Spokes from Computed Disk Center
Segment Average
Segment
Computed Disk
Actual Disk

## Slide 12: Star Tracker – Day in the life

## Slide 13: Focal Length
Object size on CCD
Diameter on CCD in pixels

## Slide 14: EPIC Optical Design
EPIC Schematic
Field Lens Group
Field Lens Group
Primary
Secondary
CCD

## Slide 15: Optical Distortion
Telephoto (pincushion) distortion
Wide angle lens distortion

## Slide 16: Optical distortion mathematical model
Corrected pixel location
Distorted pixel location
Linear offset
Radial distortion
Tangential distortion

## Slide 17: Focal Length – Liang-Kang Huang Solution
Limb profiling method
Shows difference due to chromatic aberration
Band | Focal Length (cm)
317nm | 282.70
325nm | 282.71
340nm | 282.73
388nm | 282.79
443nm | 282.85
551nm | 282.95
680nm | 282.98
688nm | 282.98
764nm | 282.98
780nm | 282.98

## Slide 18: Problems to be solved
Dynamic Unknowns
  Positional accuracy below requirements
    3 variables below needed accuracy
    Within 0.05 degrees
    Error up to 0.5 degrees in rotation
  Time
    May be off +/- 2 seconds
Static Unknowns
  Undefined telescope prescription
    11+ variables with unknown values
    Within 0.5 pixels
Total of 15 variables below requirements
Full solution is an O(n15) problem

## Slide 19
https://www.slideshare.net/cier/gis-concepts-35

## Slide 20: Solution – Forward/Back Propagation
2D XY Offset
3D XYZ Rotational Correction
Optical Distortion model
Initial Coarse Input
Modified Input
Simulator
Results
Scoring
Basic XY Offset Detection
Astronomical/
Star Tracker
Best Guess Optical Model

## Slide 21: Example
EPIC Image
Forward/Back Propagation

## Slide 22: EPIC Optical Distortion Model
EPIC Theoretical (radial only)
EPIC Actual (radial + tangential)

## Slide 23: R05 vs R06 – Horn of Africa (projection center)
R05
R06

## Slide 24: R05 vs R06 – Asia (projection edge)
R05
R06

## Slide 25: New in R07 – Horizontal Parallax Correction
View Zenith Angle R06/R07 Delta
Sun Zenith Angle R06/R07 Delta
Pixel resolution - @60 degrees VZA - .17 degrees/pixel; @70 degrees VZA, .19 degrees/pixel; @80 degrees VZA, .35 degrees/pixel

## Slide 26: Documentation
EPIC Geolocation Algorithm Description Document
  https://asdc.larc.nasa.gov/documents/dscovr/DSCOVR_EPIC_Geolocation_V03.pdf
EPIC Geolocation: Strategies to Reduce Uncertainty
  https://www.frontiersin.org/articles/10.3389/frsen.2021.715296/full